## Checklist
Checklist for Site Visit
Project |  | Start Date
Location |  | End Date
Name |  | Client Contact
S. No. | Check Points |  | Remarks/Data
A | Mandatory Check Points/Activities
1 | Raw sewage sample collected.
2 | Soil testing initiated and done
3 | Flow measurement of Nallah/Channel feeding to STP/MPS
4 | For existing STPs, data of actual flows vs design capacity available
5 | 360 degree Video shoot with commentary of proposed STP / MPS / IPS / Nallah site
6 | Video shoot with commentary of proposed pipeline route - Gravity or Rising mains
7 | High flood level data from Authority record or site mark up etc.
8 | Proposed site grade level wrt to adjacent road level
9 | Identify critical and congested patches for pipeline route
10 | Civil and Labour Rates from Local or nearby Contractor
11 | RMC, Agregate, Steel, Concrete Rates from Local or nearby Suppliers
B | Specific Check Points for STP/SPS
1 | Adequate and clear approach is available to site?
2 | Is STP site - highly undulated/moderate undulate/levelled?
3 | Nature of STP plot land - marshy/pond/mangrooves/normal soft/sandy/rocky etc
4 | Any major cutting or filling or raising or levelling of proposed STP site required?
5 | Any existing infrastructure available at proposed STP site? Define with approx. dimensions, if any.
6 | Any nallah flow inside the proposed STP plot?
7 | Site vegetation - Big trees/Dense Vegetation/Moderate Vegetation /Bare land
8 | Does treated sewage disposal point is clearly visible or located?
9 | Any Overhead HT lines passing through the STP plot?
10 | Distance between STP and nearest Electrical Substation?
11 | Distance between STP and Site for disposal of STP sludge during operation
12 | Any existing buried pipeline or Utilities available at site
13 | Approx. plot area for proposed STP/MPS
14 | Frequency and duration of power cuts at STP/MPS site?
C | Specific Check Points for Pipeline
1 | Type of road for pipeline route - BT/CC/WBM
2 | Adequate road shoulder available for pipe line laying
3 | Identify Railway crossings for pipeline - note railway crossing width
4 | Identify major Road crossings for pipeline - note road width for each crossing
5 | Identify major nallahs or river crossings - note width of nallah/river
6 | Identify major overground utilities
7 | Any existing pipeline is already laid on same path?